## Procedure
This database is supporting OPMS Work Process stage 5.2 Assess PM Program, and used by Equipment Condition Monitoring role.
Procedure to use database
1 | Create specific Repair Inspection Database for specific equipment (in one tab)
2 | Input failure and repair data from Damage and Cause in SAP in Repair Inspection Database
3 | Input degradation data (thinning, lube oil degradation, vibration)
4 | Input PRM notification data from PPM or PDM finding
5 | Determine deviation occurred
6 | Determine RCI triggered
7 | Perform Goodness of Fit test and calculate / Update MTBF, MTTF, MTTR, degradation rate using applicable tools or software (Weibull ++)
8 | Update MTBF, MTTF, MTTR and degradation rate in Equipment Performance Database Tab
9 | Update risk database base on probability equipment to fail and impact
10 | Determine deviation occurred
11 | Determine if there is opportunity for PM / PDM optimization (extend frequency)?
|  | Distribution | Parameter 1 | Parameter 2 | Parameter 3
|  | Exponential | Failure rate | - | -
|  | Weibull | Shape parameter | Scale Parameter | Location Parameter
|  | Normal | Mean | Standard Deviation | -
|  | Log Normal | Mean of log natural of time to failure | Standard deviation of log natural of time to failure | -
|  | Duane Growth | Growth Rate
|  | CROW-AMSAA | Shape parameter | Scale Parameter | -

## EPD
Plant | Unit | Main Equipment | Equipment | Tag No | Criticality | Failure Type | Failure Data | [5 empty] | Repair Data |  |  |  |  | Degradation Failure Data | [6 empty] | Risk Data |  |  | Has deviation occurred? | RCI Triggered? | Opportunity For Optimization? | Remarks
[7 empty] | Failure Mode/Failure mechanism | MTBF / MTTF (years) | Failure Distribution | Parameter 1 | Parameter 2 | Parameter 3 | MTTR (days) | Repair Distribution | Parameter 1 | Parameter 2 | Parameter 3 | Degradation type | Unit Measurement | Nominal Measurement | Abnormal (P) Measurement | Current Measurement | Degradation rate | Degradation rate unit | Likelihood of failure | Severity | Risk (Appendix 3(b))
UK COGEN | GT | TRANSMITTER, PRESS TURBINE EXHAUST GAS | TRANSMITTER, PRESS TURBINE EXHAUST GAS | 121PZA-1E74B-TX | C1 | Critical Failure | Sensor Drift | 3.73 | Simple Average |  |  |  | 1.52 | Simple Average | [10 empty] | A | 1 |  | N | N | Y
Note on H2: M Akram B Mamat-Ibrahim (EVP_DOWNSTREAM/PETH): Failure type Critical - to use Failure and Repair Data Failure type Degradation - to use degradation data
Note on AA2: M Akram B Mamat-Ibrahim (EVP_DOWNSTREAM/PETH): To follow PETRONAS Risk Matrix
Note on AE2: M Akram B Mamat-Ibrahim (EVP_DOWNSTREAM/PETH): To follow RCI Trigger Criteria
Note on L3: M Akram B Mamat-Ibrahim (EVP_DOWNSTREAM/PETH): Weibull Parameter 1 - Scale Parameter, Beta Value
Note on M3: M Akram B Mamat-Ibrahim (EVP_DOWNSTREAM/PETH): Weibull Parameter 2 - Scale Parameter Etha Value
Note on N3: M Akram B Mamat-Ibrahim (EVP_DOWNSTREAM/PETH): Weibull Parameter 3 - Location Parameter Gamma
Note on Q3: M Akram B Mamat-Ibrahim (EVP_DOWNSTREAM/PETH):
Note on AA3: Windows User: A: Insignificant B: Minor C: Moderate D: Major E: Catostrophic
Note on AB3: Windows User: 1: Less than 6M 2: Between 6M to 1Y 3: Between 1Y to 2Y 4: Between 2Y to 3Y 5: More than 3Y
Note on AC3: Windows User: Auto calculate

## EPD UK DEMIN BREAKGLASS, SUB ST
1 | Equipment Name | BREAKGLASS, SUB STN. 6
Equipment Type
| Tag No | 106HZA-016-PB
Target MTBF (years)
Target MTTR (days)
| Equipment in operation since | [11 empty] | suspended | sap
Equipment Tracking Start Date
TODAY
Proactive Maintenance Notification Created From PPM or PDM finding
| Notification number | Notification Description | Top Opportunity/ Equipment Subsystem | Type Of Failure (Critical = F/ Degraded= D /Incipient= I/Suspended=S) | Part Damage | Damage Description | Cause Description | Malfunction Start Date | Malfunction End Date | Time Between Failure (Years) | Time Between Repair (Days) | PRM Notification | Date Notified | PRM Work Orders | Status
Example | 20333210 | Lube oil detected at high alarm, lube oil cooler found insufficient cooling |  |  | Tube | Block / Clogged | Foreign Material | 2015-05-01 14:30 | 2015-05-05 17:00
|  | 1st observation date | [5 empty] | 22/10/2015 12:00 AM |  |  |  | N/A | N/A | N/A | N/A
| 23665735 | TO REPLACE MANUAL CALL POINT AT SUB 6 | PPM Work | F | CONTROLLING SYSTEM | Routine / proactive Maintenance | CONFIGURATION ERROR | 2017-11-28 | 2017-12-06 |  | 8
| 24197164 | SUB 6 BREAK GLASS (HZA-016) SWITCH KAPUT | CALL POINT | F | PTG CAUSE CODES | Wear/Abrasion | Time-Internal | 2021-05-31 | 2021-06-22 |  | 22
|  | last observation date | [5 empty] | 22/10/2023 12:00 AM
General MTBF
General MTTR
Note on B7: M Akram B Mamat-Ibrahim (EVP_DOWNSTREAM/PETH): Use latest TA date or commisioning date
Note on F11: M Akram B Mamat-Ibrahim (EVP_DOWNSTREAM/PETH): From Part Code
Note on G11: M Akram B Mamat-Ibrahim (EVP_DOWNSTREAM/PETH): From Damage Code
Note on H11: M Akram B Mamat-Ibrahim (EVP_DOWNSTREAM/PETH): From Cause Code

## Degradation analysis vibration (hidden)
Equipment | Month | Motor | Comp St 1 | Comp St 2 | Comp St 3 | Comp Thrust BRG 1 | Comp Thrust BRG 2 | Comp Thrust BRG 3 | Rpm motor | Rpm comp 1 | Rpm comp 2 | Rpm comp 3 | Rpm comp trust 1 | Rpm comp trust 2 | Rpm comp trust 3 | Overall Result
ASU1 ABC | March | 47.084 | 11.482 | 12.596 | 14.97 | -0.139 | -0.137 | -0.114 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Normal
ASU1 ABC | April | 44.056 | 13.468 | 11.385 | 14.825 | -0.142 | -0.14 | -0.113 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Normal
ASU1 ABC | May | 47.185 | 13.807 | 10.464 | 13.517 | -0.142 | -0.141 | -0.114 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Normal
ASU1 ABC | June | 46.479 | 13.856 | 13.614 | 15.067 | -0.141 | -0.141 | -0.112 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Normal
ASU1 ABC | July | 46.125 | 10.028 | 13.565 | 12.112 | -0.142 | -0.141 | -0.112 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Normal
ASU1 ABC | August | 46.176 | 9.689 | 13.517 | 15.018 | -0.14 | -0.139 | -0.112 | 2977 | 27489 | 40708 | 34.387 | 40109 | 40120 | 34339 | Normal
ASU1 ABC | September | 46.327 | 13.032 | 14.098 | 12.305 | -0.141 | -0.14 | -0.112 | 2980 | 27536 | 40048 | 34397 | 40077 | 40068 | 34309 | Normal
ASU1 ABC | October | 42.845 | 13.953 | 13.226 | 15.454 | -0.138 | -0.137 | -0.11 | 2977 | 27473 | 40094 | 34396 | 40107 | 40052 | 34351 | Normal
ASU1 ABC | November | 46.176 | 9.302 | 13.323 | 13.759 | -0.139 | -0.138 | -0.112 | 2978 | 27494 | 40086 | 34380 | 40124 | 40076 | 34379 | Normal
|  | Motor | [7 empty] | Comp St 1 | Comp St 2 | Comp St 3 |  |  |  |  | Comp Thrust BRG 1 | Comp Thrust BRG 2 | Comp Thrust BRG 3
2021 | Dec
2022 | Jan |  | estimate 74 years to reach alert limit motor vibration | [9 empty] | estimate 9 years to reach alert limit compressor radial vibration | [6 empty] | estimate 39 years to reach alert limit compressor radial vibration
2022 | Feb
2022 | Mar
2022 | Apr
2022 | May
2022 | Jun
2022 | Jul
2022 | Aug
2022 | Sep
2022 | Oct
2022 | Nov
2022 | Dec
2023 | Jan
2023 | Feb
2023 | Mar
2023 | Apr
2023 | May
2023 | Jun
2023 | Jul
2023 | Aug
2023 | Sep
2023 | Oct
2023 | Nov
2023 | Dec
2024 | Jan
2024 | Feb
2024 | Mar
2024 | Apr
2024 | May
2024 | Jun
2024 | Jul
2024 | Aug
2024 | Sep
2024 | Oct
2024 | Nov
2024 | Dec
2025 | Jan
2025 | Feb
2025 | Mar
2025 | Apr
2025 | May
2025 | Jun
2025 | Jul
2025 | Aug
2025 | Sep
2025 | Oct
2025 | Nov
2025 | Dec
2026 | Jan
2026 | Feb
2026 | Mar
2026 | Apr
2026 | May
2026 | Jun
2026 | Jul
2026 | Aug
2026 | Sep
2026 | Oct
2026 | Nov
2026 | Dec
2027 | Jan
2027 | Feb
2027 | Mar
2027 | Apr
2027 | May
2027 | Jun
2027 | Jul
2027 | Aug
2027 | Sep
2027 | Oct
2027 | Nov
2027 | Dec
2028 | Jan
2028 | Feb
2028 | Mar
2028 | Apr
2028 | May
2028 | Jun
2028 | Jul
2028 | Aug
2028 | Sep
2028 | Oct
2028 | Nov
2028 | Dec
2029 | Jan
2029 | Feb
2029 | Mar
2029 | Apr
2029 | May
2029 | Jun
2029 | Jul
2029 | Aug
2029 | Sep
2029 | Oct
2029 | Nov
2029 | Dec
2030 | Jan
2030 | Feb
2030 | Mar
2030 | Apr
2030 | May
2030 | Jun
2030 | Jul
2030 | Aug
2030 | Sep
2030 | Oct
2030 | Nov
2030 | Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
| May |  | alert

## Sheet2 (hidden)
Critical Failure | Exponential | Normal | 1 | A | A1 - Low
Degradation | Weibull | Log Normal | 2 | B | A2 - Low
| Normal | Exponential | 3 | C | A3 - Low
| Log-Normal |  | 4 | D | A4 - Low
| Duane |  | 5 | E | A5 - Medium
| CROW-AMSAA |  |  |  | B1 - Low
B2 - Low
B3 - Low
B4 - Medium
B5 - High
C1 - Low
C2 - Low
C3 - Medium
C4 - High
C5 - High
D1 - Low
D2 - Medium
D3 - High
D4 - High
D5 - Very High
E1 - Medium
E2 - High
E3 - High
E4 - Very High
E5 - Very High